PRO-WEIGHT

FH Series

. Large LCD ( 15mm hight ) with back light display

. Multiple Weighing Units : g , oz , lb , ct , dwt , Tl , ozt .

. Two special function : Counting & Percent

. Standard with RS-232 to connect PC or Printer

. Standard with external display

. AC adaptor & Internal rechargeable battery

. Full digital calibration allows easy adjustment of zero and span

| Model | FH-1500 |
| --- | --- |
| Capacity | 1500g |
| Resolution | 0.01g |
| Linearity | ±0.02g |
| Pan size | Ø115mm |
| power | Internal rechargeable battery & adaptor |